Updated

Total Lists of tests parameters carried out, but not limited to:

| Parameters |
| --- |
|  | MICROBIOLOGICAL |
| 1. | Total Coliform * |
| 2. | Faecal Coliform * |
| 3. | Escherichia coli * |
|  | CHEMICAL |
| 4. | Alkalinity as Calcium Carbonate* |
| 5. | Ammoniacal Nitrogen |
| 6. | Biochemical Oxygen Demand (BOD5) |
| 7. | Calcium Hardness * |
| 8. | Chemical Oxygen Demand (COD) |
| 9. | Chloride |
| 10. | Colour * |
| 11. | Conductivity |
| 12. | Cyanide* |
| 13. | Detergents *(as Linear Alkylate Sulphonate) |
| 14. | Dissolved Oxygen* |
| 15. | Free Chlorine* (Residual) |
| 16. | Mixed Liquor Suspended Solids* (MLSS) |
| 17. | Nitrate as N |
| 18. | Nitrite |
| 19. | Oil & Grease* |
| 20. | Orthophosphate (Reactive Phosphorus) |
| 21. | pH |
| 22. | Phenol* |
| 23. | Salinity * |
| 24. | Settleable Solids by Volume* (SSV) |
| 25. | Sludge Volume Index* (SVI) |
| 26. | Sodium Adsorption Ratio* (SAR) |
| 27. | Sulphate |
| 28. | Sulphide * |
| 29. | Sum of Nitrate & Nitrite |
| 30. | Temperature * |
| 31. | Total Chlorine* |
| 32. | Total Dissolved Solids* (TDS) |
| 33. | Total Hardness* |
| 34. | Total Kjeldahl Nitrogen* (TKN) |
| 35. | Total Phosphorus |
| 36. | Total Suspended Solids (TSS) |
| 37. | Turbidity * |
|  | METALS |
| 38. | Aluminium |
| 39. | Arsenic* |
| 40. | Beryllium* |
| 41. | Cadmium |
| 42. | Cobalt |
| 43. | Copper |
| 44. | Iron |
| 45. | Lead |
| 46. | Lithium* |
| 47. | Manganese |
| 48. | Mercury* |
| 49. | Molybdenum* |
| 50. | Nickel |
| 51. | Potassium* |
| 52. | Selenium * |
| 53. | Sodium |
| 54 | Total Chromium |
| 55 | Vanadium* |
| 56 | Zinc |

Note: Test parameter marked with "*" in this report means "Not MAURITAS accredited" and are not included in the MAURITAS Accreditation Schedule for our laboratory.